SPECIFICATIONS - DETAILED PROVISIONS

Section 01430 - Maintenance Manual Requirement Section

C O N T E N T S

PART 1 - GENERAL	1

1.01	DEFINITIONS	1

1.02	MAINTENANCE DOCUMENTS	1

1.03	MAINTENANCE MANUAL - GENERAL	1

1.04	MANUALS FOR EQUIPMENT AND SYSTEMS	4

1.05	MANUALS FOR MATERIALS AND FINISHES	6

1.06	MANUAL SUBMISSION REQUIREMENTS	7

1.07	SCHEDULE OF MANUALS	8

1.08	MAINTENANCE SUMMARY	9

PART 2 - PRODUCTS (Not Used)	9

PART 3 - EXECUTION (Not Used)	9

MAINTENANCE SUMMARY FORM

[Page Left Intentionally Blank]

SECTION 01430

MAINTENANCE MANUAL REQUIREMENT SECTION

# PART 1 - GENERAL

## 1.01	DEFINITIONS

### Maintenance Operation:  As used in the Maintenance Summary Form is defined to mean any routine operation required to ensure satisfactory performance and longevity of equipment.  Examples of typical maintenance operations are lubrication, belt tensioning, adjustment of pump packing glands, and routine adjustments.

## 1.02	MAINTENANCE DOCUMENTS

### Maintenance Manuals shall include, but not be limited to:

  - Parts books

  - Service / Shop manuals

  - Performance curve

  - Specifications

  - Warranty info

### Manuals for equipment and systems shall be prepared by equipment or system manufacturer only.

## 1.03	MAINTENANCE MANUAL - GENERAL

### Prepare data in the form and format of an instructional manual for use by DISTRICT's personnel.

### Manual Format:

  - Text:  Include Manufacturer's printed data, or type in information.

  - Drawings:

    - Suitably identify Specification section, product type Drawings.

  - Provide each manual with title page, and typed table of contents with consecutive page numbers.  Place contents of entire set, identified by volume number, in each manual.

  - Cover:  Identify each volume with typed or printed title "OPERATION AND MAINTENANCE MANUAL, VOLUME NO.," if applicable, and list:

    - Project title.

    - Designate the system or equipment for which it is intended.

    - Identity of separate structure as applicable.

    - Identity of equipment number and Specification section.

### Table of contents neatly typewritten, arranged in a systematic order:

  - CONTRACTOR, name of responsible principal, address, and telephone number.

  - List of each product required to be included, indexed to content of each volume.

  - List with Each Product:  Name, address, and telephone number of Subcontractor, Supplier, installer, and maintenance contractor, as appropriate.

    - Identify area of responsibility of each.

    - Provide local source of supply for parts and replacement.

  - Identify each product by product name and other identifying numbers or symbols as set forth in Contract Documents.

### Product Data:

  - Include only those sheets that are pertinent to specific product.

  - Clearly annotate each sheet to:

    - Identify specific product or part installed.

    - Identify data applicable to installation.

    - Delete references to inapplicable information.

### Drawings:  Supplement product data with drawings as necessary to clearly illustrate:

  - Relations of component parts of equipment and systems.

  - Control and flow diagrams.

  - Coordinate drawings with Project record documents to assure correct illustration of completed installation.

  - Do not use Project record documents as maintenance manual drawings.

### Instructions and Procedures:  Within text, as required to supplement product data.

  - Handling, storage, maintenance during storage, assembly, erection, installation, adjusting, testing, operating, shutdown in emergency, troubleshooting, maintenance, interface, and as may otherwise be required.

  - Organize in a consistent format under separate heading for each different procedure.

  - Provide a logical sequence of instructions for each procedure.

  - Provide information sheet for DISTRICT's personnel, including:

    - Proper procedures in the event of failure.

    - Instances that might affect the validity of warranties or Bonds.

## 1.04	MANUALS FOR EQUIPMENT AND SYSTEMS

### Provide an operation and maintenance manual for each item of equipment or system as specified in the individual Specification sections in the quantity listed in Article MANUAL SUBMISSION REQUIREMENTS.

### Content for each unit (or common units) and system, as appropriate, complete including controls, accessories, and appurtenances.

  - Description of Unit and Component Parts:

    - Function, normal operating characteristics, and limiting conditions.

    - Performance curves, engineering data, nameplate data, and tests.

    - Complete nomenclature and commercial number of replaceable parts.

  - Operating Procedures:

    - Startup, break-in, routine, and normal operating instructions.

    - Test procedures and results of factory tests where required.

    - Regulation, control, stopping, and emergency instructions.

    - Shutdown instructions for both short and extended durations.

    - Summer and winter operating instructions, as applicable.

    - Safety precautions.

    - Special operating instructions.

    - Installation instructions.

  - Maintenance and Overhaul Procedures:

    - Final Maintenance Summaries as accepted by ENGINEER for respective unit or system.

    - Routine operations.

    - Guide to troubleshooting.

    - Disassembly, repair, and reassembly.

    - Alignment, adjusting, and checking.

  - Original manufacturer's parts list, illustrations, detailed assembly drawings showing each part with part numbers and sequentially numbered parts list, and diagrams required for maintenance.  Preventive maintenance and overhaul instructions.

    - Predicted life of parts subject to wear.

    - Items recommended to be stocked as spare parts and ordering instructions.

  - Service and Lubrication Schedule:

    - Instructions and diagrams showing grease/oil points.

    - Recommended type, grade, and temperature range of lubricants and frequency of lubrication.

    - Include list of lubricants required.

  - Manufacturer's printed operating and maintenance instructions.

  - Description of operation sequence by control manufacturer.

  - List of electrical relay settings, and control and alarm contact settings.

  - Electrical interconnection wiring diagram, including control and lighting systems.

  - As-installed control diagrams by control manufacturer.

  - Results of field functional and performance tests as required.

  - As-installed, color-coded piping diagrams.

  - Charts of valve tag numbers, with the location and function of each valve.

  - Original manufacturer's recommended spare parts list, manufacturer's current prices, and recommended quantities to be maintained in storage.

  - Other data as required under individual Specification sections.

### Content for each electric or electronic item or system, as appropriate:

  - Description of Unit and Component Parts:

    - Function, normal operating characteristics, and limiting conditions.

    - Performance curves, engineering data, nameplate data, and tests.

    - Complete nomenclature and commercial number of replaceable parts.

    - Interconnection wiring diagrams, including all control and lighting systems.

  - Circuit Directories of Panelboards:

    - Electrical service.

    - Controls.

    - Communications.

  - As-installed, color-coded, wiring diagrams.

  - Operating Procedures:

    - Routine and normal operating instructions.

    - Sequences required.

    - Safety precautions.

    - Special operating instructions.

  - Maintenance Procedures:

    - Routine operations.

    - Guide to troubleshooting.

    - Adjustment and checking.

    - List of relay settings, control and alarm contact settings.

  - Manufacturer's printed operating and maintenance instructions.

  - List of original manufacturer's spare parts, manufacturer's current prices, and recommended quantities to be maintained in storage.

  - Other data as required under pertinent sections of the Specifications. Prepare and include additional data when the need for such data becomes apparent during instruction of DISTRICT's personnel.

### Additional Requirements for Operating and Maintenance Data:  See individual Specification sections.

## 1.05	MANUALS FOR MATERIALS AND FINISHES

### Provide an operation and maintenance manual for materials and finishes as specified in the individual Specification sections in quantity listed in Article MANUAL SUBMISSION REQUIREMENTS herein.

### Content for Architectural Products, Applied Materials, and Finishes:

  - Manufacturer's data, giving full information on products:

    - Catalog number, size, and composition.

    - Color and texture designations.

    - Information required for reordering special-manufactured products.

  - Instruction for Care and Maintenance:

    - Manufacturer's recommendation for types of cleaning agents and methods.

    - Cautions against cleaning agents and methods that are detrimental to product.

    - Recommended schedule for cleaning and maintenance.

### Content for Moisture Protection and Weather Exposed Products:

  - Manufacturer's data, giving full information on products:

    - Applicable standards.

    - Chemical composition.

    - Details of installation.

  - Instructions for inspections, maintenance, and repair.

## 1.06	MANUAL SUBMISSION REQUIREMENTS

### Manuals for Equipment and Systems

  - Preliminary Manuals:  Submit in Smart PDF format at the same time or prior to the date equipment, system subsystem, or component arrives at Project site or offsite storage.  Include copy of warranties, Bonds, and service agreements if specified.  No partial payments will be made for equipment or systems on hand or installed until preliminary manuals have been submitted.

    - ENGINEER will review and determine adequacy of content, organization, quality, and fulfillment of requirements of the Contract Documents.

    - Disposition:  In accordance with Section F-29, Equipment and Material Items, under General Conditions.

      - The EN-14 Shop Drawing submittal transmittal shall provide the required corrections needed, or acceptance.

    - If unacceptable, resubmit in Smart PDF format for ENGINEER’s review.

    - The preliminary O&M Manual must be accepted with no comments not less than 30 days prior to equipment or system field testing or startup.

  - Final Manuals:  Submit in Smart PDF format.

    - ENGINEER will compare final manuals with accepted preliminary manuals.

      - If identical, or otherwise acceptable, CONTRACTOR will be so notified.

      - If rejected, the necessary revision data will be requested from CONTRACTOR, at DISTRICT’s option.

    - The final manual shall include the following information:

      - Field functional and performance test results, if required, signed by manufacturer's authorized representative.

      - Final Maintenance Summary Forms as accepted by ENGINEER.

      - Manufacturer Field Service Report complete and certified by manufacturer's authorized representative.

      - Any revisions found desirable during instruction of DISTRICT'S personnel.

      - Revised table of contents, as applicable.

    - Submit the final manual in smart pdf format.  It shall include each individual manual to make a complete manual.  Individual manuals shall be combined chronologically by Specification Section Number.  Each manual, or Volume of the final manual, shall have a complete table of contents.

## 1.07	SCHEDULE OF MANUALS

### Prepare equipment and system operation and maintenance manuals for each of the following:

| Specification Section |  | Type of Equipment or System |
| --- | --- | --- |

TO BE COMPLETED

## 1.08	MAINTENANCE SUMMARY

### Fill out and complete in the order and format of the Maintenance Summary Form bound at the end of this section and described below.

  - Each Maintenance Summary may take as many pages as required.

  - Use only 8½ inches by 11 inches size paper.

  - Use typewriter or electronic printing.

### Compile an individual Maintenance Summary for each equipment item, respective unit or system, and for components or subunits.

  - Include detailed lubrication instructions and diagrams showing points to be greased or oiled; recommend type, grade, and temperature range of lubricants and frequency of lubrication.

  - All spare parts data to be consistent with manufacturer's Bill of Materials/Parts List furnished in O&M manuals.  "Unit" is the unit of measure for ordering the part, e.g., each, lot of 3, box of 100, etc.  The term "Quantity" is the number of units recommended.  The term "Unit Cost" is the purchase price of a unit at the time the Equipment Data Form is completed.

### Preliminary Summaries:  Submit in Smart PDF format with, but as a separate submission from, respective operation and maintenance manual.

  - ENGINEER will review and provide EN-14 Shop Drawing Submittal Transmittal with comments whether accepted or rejected.

  - The manufacturer's standard form will not be an acceptable substitute.

### Final Summaries:  Final copies shall be included in the preliminary O&M Manual; refer to part 1.06.A.2).

# PART 2 - PRODUCTS (Not Used)

# PART 3 - EXECUTION (Not Used)

END OF SECTION 01430

MAINTENANCE SUMMARY FORM

| PROJECT |  | CONTRACT NO. |  |
| --- | --- | --- | --- |

1.	EQUIPMENT ITEM

2.	MANUFACTURER

3.	EQUIPMENT/TAG NUMBER(S)

4.	WEIGHT OF INDIVIDUAL COMPONENTS (OVER 100 POUNDS)

5.	NAMEPLATE DATA (hp, voltage, speed, etc.)

6.	MANUFACTURER'S LOCAL REPRESENTATIVE

a.	Name 		Telephone No.

b.	Address

7.	MAINTENANCE REQUIREMENTS

| Maintenance Operation Comments | Lubricant Frequency | (If Applicable) |
| --- | --- | --- |
| List briefly each maintenance operation required and refer to specific information in manufacturer's standard maintenance manual, if applicable. (Reference to manufacturer's catalog or sales literature is not acceptable.) | List required frequency of each maintenance operation. | Refer by symbol to lubricant list required. |

8.	LUBRICANT LIST

| Reference Symbol | Shell | Standard Oil | Gulf | Arco | Or Equal |
| --- | --- | --- | --- | --- | --- |
| List symbols used in No. 7 above. | List equivalent lubricants, as distributed by each manufacturer for the specific use recommended. |  |  |  |  |

9	RECOMMENDED SPARE PARTS FOR OWNER'S INVENTORY

| Part No. | Description | Unit | Qty | Unit Cost |
| --- | --- | --- | --- | --- |
| Note: Identify parts provided by this contract with two asterisks. |  |  |  |  |